Cutnall Green and District Memorial Hall

Emergency plan for hirer (temporary responsible person )

As the responsible person for the event etc. you have legal duties for the safety for those persons helping at or attending the event.

Before the event you should be aware of :

- what fire protection systems are present;

- how a fire will be detected:

- how people will be warned if there is a fire:

- what you or your assistant will do if they discover a fire:

- how the evacuation of the premises should be carried out:

- where people should assemble after they have left the premises and procedures for checking whether the premises have been evacuated:

- identification of key escape routes and exits, how people gain access to them and escape to a place of safety:

- arrangement for fighting a fire ;

- how the fire service and any other necessary services will be called;

- procedures for meeting fire service  and notifying them of any special risks:

- limitation on numbers of people :

- any chains or padlocks which need removing from fire exits:

- checking that all escape routes are clear of obstructions and combustibles:

Before the event you should decide :

- the arrangements for fighting fire ;

- the arrangements for means of escape for disabled persons and children;

- duties of assistants who have specific responsibilities if there is a fire;

- how you will proceed if the fire alarm system is out of order;

- who will be responsible for calling the fire service and any other services;

- who will meet the fire service on their arrival and advising of any special risks;

- your plans to deal with people once they have left the premises, especially children;

At the start of the event you should notify all those present about :

- the no smoking policy;

- the emergency warning signal;

- who is the responsible person ;

- location of exits and escape routes ;

- taking only valuables to hand  and not to go and collect other belongings;

- the location of the muster point; and

- what will happen after that regarding re-entry of the building.

During the event you should ensure that :

- escape routes  and exits do not become blocked ;

- your no smoking policy is adhered to ;

- no naked flames are started (unless authorised e.g. candles on cakes );

- where naked flames are present  that combustible material is kept clear ;

- rooms do not become overcrowded;

- noise levels cannot drown out  the fire alarm; and

- if necessary, the number of persons in the premises is limited or controlled.